City of Penticton Lock Box Form

Date:- 2/22/18 Unit Id. #4 Disk Filter Reason: Replace Filter Media  Lock Box #_#1

Seal # 438172 Installed by 			                               and				________

Signature and Print Last Name		                  Signature and Print Last Name

If the box is opened and then resealed two personnel must maintain individual control of the keys while the box is opened. Then both must fill out the back of both Lock Box Forms and re-seal Lock Box

| Lock # | Location | Reason |
| --- | --- | --- |
| 1 | Filter #4 influent gate | Hydraulic |
| 2 | Filter #4 control panel breaker | Electro Mechanical |
| 3 | Filter #4 sludge waste valve | Hydraulic |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |
| 8 |  |  |
| 9 |  |  |
| 10 |  |  |
| 11 |  |  |
| 12 |  |  |
| 13 |  |  |
| 14 |  |  |
| 15 |  |  |
| 16 |  |  |

ALSO "Specific" Equipment requiring individual Lockout Locks with "Special Procedures" for Testing.

| Specific Equipment # | Hold Lock # | Location and reason for individual lock |
| --- | --- | --- |

Hold Lock # 		  Installed by 				 	AND

Signature and Print Last Name		Signature and Print Last Name

We, the undersigned, have read and understand the City of Penticton LockBox Lockout Procedures and Have attached a  "Personal Lock to the Lock Box"

Signature and Print Last Name		Signature and Print Last Name 		Signature and Print Last Name

Confined Space Entry Permit Numbers.

City of Penticton Lock Box Form

If the box is opened and then resealed two personnel must maintain individual control of the keys while the box is opened. Then both must fill out the back of both Lock Box Forms and re-seal Lock Box

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name

Date___________  Reason:_______________________________________________________

Seal # 		   Installed by 			                       and									           Signature and Print Last Name		                       Signature and Print Last Name