|  |  |  |  |
| --- | --- | --- | --- |
| **Permit valid from: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_am/pm (circle one)**  **Permit expires at: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ am/pm (circle one)** | | | |
| Date of Issue: |  | Issued By: |  |
| Confined Space Name: |  | Confined Space Location: |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Confined Space Hazard Classification (Circle one as per review of Hazard Assessment)** | **Low** | **Moderate** | **High** |

|  |  |
| --- | --- |
| **Controls** | **Confirmation required, explain procedure and/or equipment where applicable.** |
| Hazard / Risk Assessment reviewed |  |
| Alternate Procedures reviewed |  |
| Personal Protective Equipment (list) |  |
| Lockout Procedures (list) |  |
| Ventilation Procedures |  |
| Atmospheric monitoring |  |
| Respiratory Protection |  |
| CS Entry Type |  |
| Fall Protection |  |
| Emergency Rescue Plan |  |

|  |
| --- |
| Description of Work to be performed |
|  |
| i.e.: Inspection, Electrical, Cleaning, Maintenance |

|  |  |  |  |
| --- | --- | --- | --- |
| **Confirm pre-entry requirements** | | | |
| Tail Board Discussion |  | PPE in place |  |
| Area Secure |  | Lighting |  |
| Communications in place |  | Fire Control |  |
| Fall protection in place |  | Ventilation in Place |  |
| Gas Detectors Bump Tested |  | Lockout/Isolation complete (unless required to be live for work being performed) |  |
| Tripod for Retrieval |  | Winch for retrieval |  |
| Rescue Plan Reviewed |  | Rescue Personnel Notified |  |

Entrant Workers

|  |  |  |
| --- | --- | --- |
| I have read and understand this entry permit, have discussed in the tailboard meeting, the hazard assessment, lockout and safe work procedures and will work in accordance with these procedures. I am satisfied that the information and requirements listed on this sheet are correct. I will notify the Responsible Supervisor immediately of any changes or concerns related to this confined space entry. | | |
| **Entry Personnel** (Signature) |  |  |
|  |  |  |
|  |  |  |

Responsible Supervisor

|  |  |  |
| --- | --- | --- |
| The employer must assign the responsibility for supervision to a person who is adequately trained to supervise the job before any worker enters a confined space. Work Safe B.C., OH&S Regulation 9.7(1) | | |
| **Print Name** | **Signature** | **Job Title** |
| **Change of Supervisor** | **Time** | |
| **Print Name** | **Signature** | **Job Title** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Standby person** |  | **Detector #** | |
| **Bump Test**  **Date & Time** |  | **Bump Test OK** |  |

**Atmospheric Monitoring will be Continuous**

**Worker Well Being Checks must not exceed 20 minutes during occupation of space**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Tested By**  Print | **Time**  **+20Min** | **Remarks** | **Oxygen**  **(not below**  **20.5%)** | **LEL**  **(not above**  **0%)** | **H2S**  **(not above**  **5 ppm)** | **CO**  **(not above**  **12.5 ppm)** | **Other** | **Other** |
| **Initial test prior to ventilation** |  | **Top** |  |  |  |  |  |  |
|  |  | **Middle** |  |  |  |  |  |  |
|  |  | **Bottom** |  |  |  |  |  |  |
| **Test prior to entry** |  | **Entry** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |

**Test all levels of the space! Top / Middle / Bottom No Hot Work if LEL above0%**

|  |
| --- |
| **Immediately Abort entry (evacuate) and notify the Responsible Supervisor if:**   * Alarm sounds * Permit Expires * Failure of any equipment * Physical or mental distress of any of the entry or standby personnel * O2 is below 20.5% * LEL is above 0% * CO is above 12.5 ppm * H2S is above 5 ppm (ceiling limit is 10 ppm) * Any other monitored toxic exceeds 50% of its exposure limit (unless proper PPE is identified) * Sewage level rises to within 2 feet of the mid-level grating or to top of pumps (if no grating) |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Entrant** | **Locks On** | **Time In** | **Time Out** | **Time In** | **Time Out** | **Time In** | **Time Out** | **Time In** | **Time Out** | **Locks Off** |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |

**Closure of Permit**

|  |  |  |  |
| --- | --- | --- | --- |
| All controls and safety measures have been removed and the Confined Space has been closed and secured at the completion of this working shift. | | | |
| **Print Name** | | **Signature** | **Job Title** |
| **Date** | **Time** | **Notes** | |

Permit must be signed by a Responsible Supervisor. One working copy of the permit must be posted at the confined space entry point. A copy of the permit must be retained for one year.